## Slide 1: Edge-Based Cross Sensitivity Correction
Dheeraj Somashekar
  3/26/26
  MINTS Lab Meeting
1

## Slide 2: Contents
2
Background
Outline
Approach
Possible Failures
References

## Slide 3: Background
(1) https://www.researchgate.net/figure/Cross-sensitivity-analysis-of-the-sensors-using-a-b-low-concentration-NH3-and-high_fig5_334078522
3
Low-cost electrochemical gas sensors (SO₂, O₃, NO₂, CO) are widely used in urban air-quality networks but suffer from significant cross-sensitivity to co-pollutants and humidity.
Environmental factors like temperature and relative humidity modify sensor baseline, cause drift, and amplify interference effects.
Limited research on performing real-time, embedded cross-sensitivity correction directly on microcontrollers.
(1) Cross-sensitivity analysis of the sensors using (a), (b) low concentration NH3, and high concentration H2, CO and H2S pulses as well as (c), (d) similar analyte concentrations during the measurements.

## Slide 4: Outline
(2) https://dk0tu.de/posts/Raspberry_Pi_Lowpass_Filters/
4
Goal  Enhance the accuracy of low-cost sensors using real-time edge computing.
Problem  Prone to cross-sensitivity, often misreporting O3, NO2, or humidity as SO2.
Use a Raspberry Pi to act as a "digital filter" that can differentiate between target gas signals and environmental interference.
Transition from unreliable data to "refined" research-grade data without expensive equipment.
(2) Low pass Filter using Raspberry Pi

## Slide 5: Approach
(3) https://thekalmanfilter.com/kalman-filter-explained-simply/
5
Interface sensors with a Raspberry Pi via a 16-bit ADS1115 ADC for high-resolution signal capture.
Expose sensors to controlled "interference events" to quantify false-positive readings.
Map the mathematical relationship between Gas X & Gas Y.
Utilize Linear Regression or a Kalman Filter in Python to subtract known interferences in real-time.
Expected Outcome: A "clean" output stream with a significantly reduced Root Mean Square Error (RMSE).
(3) Kalman Filter

## Slide 6: Project Workflow

## Slide 7: Possible Failures
7
Non-Linear Interference
  Risk: Cross-sensitivity may be non-linear or vary with sensor age.
  Potential Approach: Use polynomial regression or periodically re-calibrate the baseline in clean air.
Processing Latency
  Risk: High-frequency sampling might bottleneck the Pi's I2C bus.
  Potential Approach: Optimize Python code using NumPy for vectorized math and adjust sampling rates to 1Hz.
Environmental “Poisoning”
  Risk: Extreme humidity or high gas concentrations could temporarily "blind" the sensor.
  Potential Approach: Program "Safety Thresholds" in the firmware to flag data as unreliable during extreme environmental spikes.

## Slide 8: References
8
Hayward, I., Martin, N. A., Ferracci, V., Kazemimanesh, M., & Kumar, P. (2024). Low-Cost Air Quality Sensors: Biases, Corrections and Challenges in Their Comparability. Atmosphere, 15(12), 1523. https://doi.org/10.3390/atmos15121523
Xiaobing Pang, Marvin D. Shaw, Stefan Gillot, Alastair C. Lewis, The impacts of water vapour and co-pollutants on the performance of electrochemical gas sensors used for air quality monitoring, Sensors and Actuators B: Chemical, Volume 266, 2018, Pages 674-684, ISSN 0925-4005, https://doi.org/10.1016/j.snb.2018.03.144.
Jarvinen, Topias & Lorite, Gabriela & Peräntie, Jani & Toth, Geza & Saarakkala, Simo & Virtanen, Vesa & Kordás, Krisztián. (2019). WS2 and MoS2 thin film gas sensors with high response to NH3 in air at low temperature. Nanotechnology. 30. 10.1088/1361-6528/ab2d48.

## Slide 9
Thank you
9